{"text_format":"3","workbook":"xlsx","n_sheets":4,"sheets":["水电","消防","弱电","电气"],"not_rendered":{"defined_names":4},"read":"whole","date_system":"1900"}

{"sheet":"水电","index":0,"n_rows":316,"n_cols":9,"rows_kept":316,"merged":[[0,0,0,8],[1,0,1,1],[1,2,1,5],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[48,1,48,2],[49,1,49,2],[50,1,50,2],[51,1,51,2],[52,1,52,2],[53,1,53,2],[54,1,54,2],[55,1,55,2],[56,1,56,2],[57,1,57,2],[58,1,58,2],[59,1,59,2],[60,1,60,2],[61,1,61,2],[62,1,62,2],[63,1,63,2],[64,1,64,2],[65,1,65,2],[66,1,66,2],[67,1,67,2],[68,1,68,2],[69,1,69,2],[70,1,70,2],[71,1,71,2],[72,1,72,2],[73,1,73,2],[74,1,74,2],[75,1,75,2],[76,1,76,2],[77,1,77,2],[78,1,78,2],[79,1,79,2],[80,1,80,2],[81,1,81,2],[82,1,82,2],[83,1,83,2],[84,1,84,2],[85,1,85,2],[86,1,86,2],[87,1,87,2],[88,1,88,2],[89,1,89,2],[90,1,90,2],[91,1,91,2],[92,1,92,2],[93,1,93,2],[94,1,94,2],[95,1,95,2],[96,1,96,2],[97,1,97,2],[98,1,98,2],[99,1,99,2],[100,1,100,2],[101,1,101,2],[102,1,102,2],[103,1,103,2],[104,1,104,2],[105,1,105,2],[106,1,106,2],[107,1,107,2],[108,1,108,2],[109,1,109,2],[110,1,110,2],[111,1,111,2],[112,1,112,2],[113,1,113,2],[114,1,114,2],[115,1,115,2],[116,1,116,2],[117,1,117,2],[118,1,118,2],[119,1,119,2],[120,1,120,2],[121,1,121,2],[122,1,122,2],[123,1,123,2],[124,1,124,2],[125,1,125,2],[126,1,126,2],[127,1,127,2],[128,1,128,2],[129,1,129,2],[130,1,130,2],[131,1,131,2],[132,1,132,2],[133,1,133,2],[134,1,134,2],[135,1,135,2],[136,1,136,2],[137,1,137,2],[138,1,138,2],[139,1,139,2],[140,1,140,2],[141,1,141,2],[142,1,142,2],[143,1,143,2],[144,1,144,2],[145,1,145,2],[146,1,146,2],[147,1,147,2],[148,1,148,2],[149,1,149,2],[150,1,150,2],[151,1,151,2],[152,1,152,2],[153,1,153,2],[154,1,154,2],[155,1,155,2],[156,1,156,2],[157,1,157,2],[158,1,158,2],[159,1,159,2],[160,1,160,2],[161,1,161,2],[162,1,162,2],[163,1,163,2],[164,1,164,2],[165,1,165,2],[166,1,166,2],[167,1,167,2],[168,1,168,2],[169,1,169,2],[170,1,170,2],[171,1,171,2],[172,1,172,2],[173,1,173,2],[174,1,174,2],[175,1,175,2],[176,1,176,2],[177,1,177,2],[178,1,178,2],[179,1,179,2],[180,1,180,2],[181,1,181,2],[182,1,182,2],[183,1,183,2],[184,1,184,2],[185,1,185,2],[186,1,186,2],[187,1,187,2],[188,1,188,2],[189,1,189,2],[190,1,190,2],[191,1,191,2],[192,1,192,2],[193,1,193,2],[194,1,194,2],[195,1,195,2],[196,1,196,2],[197,1,197,2],[198,1,198,2],[199,1,199,2],[200,1,200,2],[201,1,201,2],[202,1,202,2],[203,1,203,2],[204,1,204,2],[205,1,205,2],[206,1,206,2],[207,1,207,2],[208,1,208,2],[209,1,209,2],[210,1,210,2],[211,1,211,2],[212,1,212,2],[213,1,213,2],[214,1,214,2],[215,1,215,2],[216,1,216,2],[217,1,217,2],[218,1,218,2],[219,1,219,2],[220,1,220,2],[221,1,221,2],[222,1,222,2],[223,1,223,2],[224,1,224,2],[225,1,225,2],[226,1,226,2],[227,1,227,2],[228,1,228,2],[229,1,229,2],[230,1,230,2],[231,1,231,2],[232,1,232,2],[233,1,233,2],[234,1,234,2],[235,1,235,2],[236,1,236,2],[237,1,237,2],[238,1,238,2],[239,1,239,2],[240,1,240,2],[241,1,241,2],[242,1,242,2],[243,1,243,2],[244,1,244,2],[245,1,245,2],[246,1,246,2],[247,1,247,2],[248,1,248,2],[249,1,249,2],[250,1,250,2],[251,1,251,2],[252,1,252,2],[253,1,253,2],[254,1,254,2],[255,1,255,2],[256,1,256,2],[257,1,257,2],[258,1,258,2],[259,1,259,2],[260,1,260,2],[261,1,261,2],[262,1,262,2],[263,1,263,2],[264,1,264,2],[265,1,265,2],[266,1,266,2],[267,1,267,2],[268,1,268,2],[269,1,269,2],[270,1,270,2],[271,1,271,2],[272,1,272,2],[273,1,273,2],[274,1,274,2],[275,1,275,2],[276,1,276,2],[277,1,277,2],[278,1,278,2],[279,1,279,2],[280,1,280,2],[281,1,281,2],[282,1,282,2],[283,1,283,2],[284,1,284,2],[285,1,285,2],[286,1,286,2],[287,1,287,2],[288,1,288,2],[289,1,289,2],[290,1,290,2],[291,1,291,2],[292,1,292,2],[293,1,293,2],[294,1,294,2],[295,1,295,2],[296,1,296,2],[297,1,297,2],[298,1,298,2],[299,1,299,2],[300,1,300,2],[301,1,301,2],[302,1,302,2],[303,1,303,2],[304,1,304,2],[305,1,305,2],[306,1,306,2],[307,1,307,2],[308,1,308,2],[309,1,309,2],[310,1,310,2],[311,1,311,2],[313,5,313,8],[314,5,314,8],[315,5,315,8]]}
["水电工程材料（设备）报价明细表"]
[]
["序号","材料（设备）名称",null,"规格、型号","计量单位","单价(元)","成套设备明细及报价","生产厂家","备注"]
[1,"18目防虫网",null,"DN100","个",null,""]
[2,"87型钢制雨水斗",null,"DN100","套",null,""]
[3,"87型钢制雨水斗",null,"DN150","套",null,""]
[4,"87型钢制雨水斗",null,"DN200","套",null,""]
[5,"HDPE塑钢缠绕排水管  DN300",null,"SN8","m",null,""]
[6,"HDPE塑钢缠绕排水管  DN400",null,"SN8","m",null,""]
[7,"HDPE塑钢缠绕排水井 DN1000",null,"SN8","m",null,""]
[8,"LED灯",null,"42W","套",null,""]
[9,"LED局部等电位端子箱",null,"","个",null,""]
[10,"MEB总等电位端子箱",null,"","个",null,""]
[11,"MEB总等电位端子箱",null,"","台",null,""]
[12,"PP-R给水管",null,"DN50","m",null,""]
[13,"PP-R给水管",null,"DN80","m",null,""]
[14,"PP-R给水管管件",null,"DN15","个",null,""]
[15,"PP-R给水管管件",null,"DN20","个",null,""]
[16,"PP-R给水管管件",null,"DN25","个",null,""]
[17,"PP-R给水管管件",null,"DN50","个",null,""]
[18,"PP-R给水管管件",null,"DN80","个",null,""]
[19,"PP-R冷水管",null,"DN15","m",null,""]
[20,"PP-R冷水管",null,"DN20","m",null,""]
[21,"PP-R冷水管",null,"DN25","m",null,""]
[22,"PP-R塑料给水管",null,"DN25","m",null,""]
[23,"PP-R塑料给水管",null,"DN32","m",null,""]
[24,"PP-R塑料给水管",null,"DN40","m",null,""]
[25,"PP-R塑料给水管件",null,"DN25","个",null,""]
[26,"PP-R塑料给水管件",null,"DN32","个",null,""]
[27,"PP-R塑料给水管件",null,"DN40","个",null,""]
[28,"PP-R塑料热给水管",null,"DN25","m",null,""]
[29,"PP-R塑料热给水管件",null,"DN25","个",null,""]
[30,"PSP钢塑复合管",null,"DN110","m",null,""]
[31,"PSP钢塑复合管",null,"DN50","m",null,""]
[32,"PSP钢塑复合管",null,"DN65","m",null,""]
[33,"PSP钢塑复合管管件",null,"DN110","个",null,""]
[34,"PSP钢塑复合管管件",null,"DN65","个",null,""]
[35,"PSP钢塑复合管件",null,"DN50","个",null,""]
[36,"PSP给水管",null,"DN80","m",null,""]
[37,"PSP给水管管件",null,"DN20","个",null,""]
[38,"PSP给水管管件",null,"DN25","个",null,""]
[39,"PSP给水管管件",null,"DN32","个",null,""]
[40,"PSP给水管管件",null,"DN40","个",null,""]
[41,"PSP给水管管件",null,"DN50","个",null,""]
[42,"PSP给水管管件",null,"DN80","个",null,""]
[43,"PSP管",null,"DN100","m",null,""]
[44,"PSP管",null,"DN300","m",null,""]
[45,"PSP管沟槽管件",null,"DN100","个",null,""]
[46,"PSP管沟槽管件",null,"DN300","个",null,""]
[47,"PSP冷水管",null,"DN20","m",null,""]
[48,"PSP冷水管",null,"DN25","m",null,""]
[49,"PSP冷水管",null,"DN32","m",null,""]
[50,"PSP冷水管",null,"DN40","m",null,""]
[51,"PSP冷水管",null,"DN50","m",null,""]
[52,"PSP冷水管",null,"DN80","m",null,""]
[53,"PVC塑料管",null,"φ100","m",null,""]
[54,"PVC塑料管",null,"φ50","m",null,""]
[55,"UPS电源",null,"10KVA/1h","套",null,""]
[56,"UPS输入输出配电箱",null,"","台",null,""]
[57,"U-PVC承压排水管",null,"DN100","m",null,""]
[58,"U-PVC承压排水管",null,"DN200","m",null,""]
[59,"U-PVC承压排水管管件",null,"DN100","个",null,""]
[60,"U-PVC承压排水管管件",null,"DN200","个",null,""]
[61,"U-PVC内螺旋消音排水管",null,"DN100","m",null,""]
[62,"U-PVC内螺旋消音排水管",null,"DN150","m",null,""]
[63,"U-PVC内螺旋消音排水管",null,"DN200","m",null,""]
[64,"U-PVC内螺旋消音排水管",null,"DN50","m",null,""]
[65,"U-PVC内螺旋消音排水管",null,"DN65","m",null,""]
[66,"U-PVC内螺旋消音排水管",null,"DN80","m",null,""]
[67,"U-PVC内螺旋消音排水管管件",null,"DN100","个",null,""]
[68,"U-PVC内螺旋消音排水管管件",null,"DN150","个",null,""]
[69,"U-PVC内螺旋消音排水管管件",null,"DN200","个",null,""]
[70,"U-PVC内螺旋消音排水管管件",null,"DN50","个",null,""]
[71,"U-PVC内螺旋消音排水管管件",null,"DN65","个",null,""]
[72,"U-PVC内螺旋消音排水管管件",null,"DN80","个",null,""]
[73,"U-PVC内螺旋消音排水管件",null,"DN100","个",null,""]
[74,"U-PVC塑料排水管",null,"DN100","m",null,""]
[75,"U-PVC塑料排水管",null,"DN200","m",null,""]
[76,"U-PVC塑料排水管管件",null,"DN100","个",null,""]
[77,"U-PVC塑料排水管管件",null,"DN200","个",null,""]
[78,"Y-150型压力表",null,"DN100","支",null,""]
[79,"Y-150型压力表",null,"DN25","支",null,""]
[80,"Y-150型压力表",null,"DN32","支",null,""]
[81,"Y-150型压力表",null,"DN65","支",null,""]
[82,"Y型过滤器",null,"DN100","个",null,""]
[83,"Y型过滤器",null,"DN150","个",null,""]
[84,"φ12圆钢箅子",null,"","m2",null,""]
[85,"避雷针",null,"","套",null,""]
[86,"不锈钢地漏",null,"DN50","个",null,""]
[87,"不锈钢防虫网罩",null,"DN100","个",null,""]
[88,"不锈钢钢管",null,"φ35","m",null,""]
[89,"不锈钢钢管",null,"φ38","m",null,""]
[90,"不锈钢钢管",null,"φ60","m",null,""]
[91,"不锈钢焊丝",null,"","kg",null,""]
[92,"不锈钢减压孔板",null,"d=150mm","个",null,""]
[93,"不锈钢减压孔板",null,"DN150","个",null,""]
[94,"侧入式雨水斗",null,"DN100","套",null,""]
[95,"侧入式雨水斗",null,"DN150","套",null,""]
[96,"衬塑钢管",null,"DN100","m",null,""]
[97,"带保护接点暗装插座 220V 10A",null,"安全型","个",null,""]
[98,"带保护接点暗装插座 220V 10A",null,"安全型","套",null,""]
[99,"单管LED灯 LED光源",null,"28W","套",null,""]
[100,"单管荧光灯 220V 28W LED光源",null,"光通量2800LM","套",null,""]
[101,"弹性座封闸阀",null,"DN100","个",null,""]
[102,"弹性座封闸阀",null,"DN150","个",null,""]
[103,"弹性座封闸阀",null,"DN50","个",null,""]
[104,"弹性座封闸阀",null,"DN65","个",null,""]
[105,"弹性座封闸阀",null,"DN80","个",null,""]
[106,"倒流防止器",null,"DN100","个",null,""]
[107,"灯",null,"36W","套",null,""]
[108,"电力电缆 ZB1R-YJV-0.6/1kV",null,"4x300+1x150","m",null,""]
[109,"电力电缆",null,"BBTRZ-B1-0.6/1kV+3x185+2x95","m",null,""]
[110,"电力电缆",null,"BTTRZ-B1-3*150+1*70","m",null,""]
[111,"电力电缆",null,"BTTRZ-B1-3*150+2*70","m",null,""]
[112,"电力电缆",null,"BTTRZ-B1-5*16","m",null,""]
[113,"电力电缆",null,"BTTRZ-B1-5*6","m",null,""]
[114,"电力电缆",null,"WDZB1-YJY-0.6/1kV-(3*2.5)","m",null,""]
[115,"电力电缆",null,"WDZB1-YJY-0.6/1kV-(4x50+1x25)","m",null,""]
[116,"电力电缆",null,"WDZB1-YJY-0.6/1kV-(4x70+1x35)","m",null,""]
[117,"电力电缆",null,"WDZB1-YJY-0.6/1kV-(5x16)","m",null,""]
[118,"电力电缆",null,"WDZB1-YJY-0.6/1kV-(5x4)","m",null,""]
[119,"电力电缆",null,"WDZBN-YJY-0.6/1kV-3*35+2*16","m",null,""]
[120,"电力电缆",null,"WDZBN-YJY-0.6/1kV-4*16","m",null,""]
[121,"电力电缆",null,"WDZBN-YJY-0.6/1kV-5*4","m",null,""]
[122,"电力电缆",null,"WDZBN-YJY-0.6/1kV-7*16","m",null,""]
[123,"电力电缆",null,"WDZC-YJY-5*16","m",null,""]
[124,"电力电缆",null,"WDZC-YJY-5*4","m",null,""]
[125,"电力电缆",null,"WDZ-YJY-0.6/1kV+4x185+1x95","m",null,""]
[126,"电力电缆",null,"WDZ-YJY-0.6/1kV+4x70+1x35","m",null,""]
[127,"电力电缆",null,"WDZ-YJY-0.6/1kV+4x95+1x50","m",null,""]
[128,"电力电缆",null,"WDZ-YJY-0.6/1kV+5x10","m",null,""]
[129,"电力电缆",null,"WDZ-YJY-0.6/1kV+5x16","m",null,""]
[130,"电力电缆",null,"WDZ-YJY-0.6/1kV-4x25+1x16","m",null,""]
[131,"电力电缆",null,"WDZ-YJY-3x10","m",null,""]
[132,"电力电缆",null,"WDZ-YJY-3x6","m",null,""]
[133,"电力电缆",null,"WDZ-YJY-4x25+1x16","m",null,""]
[134,"电力电缆",null,"WDZ-YJY-4x50+1x25","m",null,""]
[135,"电力电缆",null,"WDZ-YJY-5x10","m",null,""]
[136,"电力电缆",null,"WDZ-YJY-5x16","m",null,""]
[137,"电力电缆",null,"YJV-0.6/1kV-(5*10)","m",null,""]
[138,"电力电缆",null,"ZB1N-YJV-0.6/1KV-3*185+2*95","m",null,""]
[139,"电力电缆",null,"ZB1N-YJV-8.7/15KV-3x70","m",null,""]
[140,"电力电缆",null,"ZB-YJV-0.6/1KV-5*10","m",null,""]
[141,"电力电缆",null,"ZB-YJV-4x35+1x16","m",null,""]
[142,"电力电缆终端头",null,"3芯95mm2以内（高压）","套",null,""]
[143,"电力电缆终端头",null,"5芯240mm2以内","套",null,""]
[144,"电力电缆终端头",null,"5芯300mm2以内","套",null,""]
[145,"电力电缆终端头",null,"5芯70mm2以内","套",null,""]
[146,"电气配管",null,"JDG20","m",null,""]
[147,"电气配管",null,"JDG25","m",null,""]
[148,"电气配管",null,"JDG40","m",null,""]
[149,"电气配管",null,"PC20","m",null,""]
[150,"电气配管",null,"PC25","m",null,""]
[151,"电气配线",null,"BVR2.5","m",null,""]
[152,"电气配线",null,"NH-BV-1*2.5mm2","m",null,""]
[153,"电气配线",null,"NH-BV-1*4mm2","m",null,""]
[154,"电气配线",null,"NH-WDZB1-BYJ-2.5","m",null,""]
[155,"电气配线",null,"WDZB1-BYJ-2.5","m",null,""]
[156,"电气配线",null,"WDZB1-BYJ-4","m",null,""]
[157,"电气配线",null,"WDZBN-BV-2.5","m",null,""]
[158,"电气配线",null,"WDZBN-BYJ-2.5","m",null,""]
[159,"电气配线",null,"WDZBN-RVS-2x1.5","m",null,""]
[160,"电气配线",null,"WDZBN-RVVP-2x1.5","m",null,""]
[161,"电气配线",null,"WDZ-BYJ-1*2.5mm2","m",null,""]
[162,"电气配线",null,"WDZ-BYJ-4","m",null,""]
[163,"电气配线",null,"WDZC-BYJ-2.5","m",null,""]
[164,"电气配线",null,"WDZN-BYJ(F)-4","m",null,""]
[165,"电气配线",null,"ZB-BV-1*2.5mm2","m",null,""]
[166,"电气配线",null,"ZB-BV-1*4mm2","m",null,""]
[167,"电气配线",null,"ZBN-BV-2.5","m",null,""]
[168,"电气配线",null,"ZBR-BV-4","m",null,""]
[169,"电气配线",null,"ZC-BV-1*4mm2","m",null,""]
[170,"电气配线",null,"ZCNH-RVS-2x1.5","m",null,""]
[171,"电气配线",null,"ZC-RVVP-2x1.5","m",null,""]
[172,"电气配线",null,"ZNB1-BV-1*2.5mm2","m",null,""]
[173,"电气配线",null,"ZNRVS-2X2.5","m",null,""]
[174,"电热水器",null,"RS50L","台",null,""]
[175,"电子液位计",null,"","台",null,""]
[176,"调节阀",null,"DN100","个",null,""]
[177,"蝶阀",null,"DN100","个",null,""]
[178,"蝶阀",null,"DN150","个",null,""]
[179,"蝶阀",null,"DN65","个",null,""]
[180,"镀锌钢管",null,"φ65*4","m",null,""]
[181,"镀锌钢管",null,"φ65*4mm","t",null,""]
[182,"镀锌螺钉",null,"带垫","个",null,""]
[183,"镀锌铁丝",null,"22#","kg",null,""]
[184,"镀锌铁丝",null,"8#","kg",null,""]
[185,"镀锌铁丝",null,"φ1.6～1.2","kg",null,""]
[186,"端部固定架",null,"WG-3","个",null,""]
[187,"对拉螺栓",null,"","kg",null,""]
[188,"防火金属桥架",null,"200x100","m",null,""]
[189,"防火漆",null,"","kg",null,""]
[190,"防水防尘灯 220V 24W LED光源",null,"光通量2400LM","套",null,""]
[191,"防水防尘灯 LED",null,"40W","套",null,""]
[192,"放空管 PVC-U",null,"DN100","m",null,""]
[193,"放空管管件 PVC-U",null,"DN100","个",null,""]
[194,"刚性阻燃管",null,"PC20","m",null,""]
[195,"钢丝网骨架塑料(聚乙烯)复合管",null,"DN100","m",null,""]
[196,"钢丝网骨架塑料（聚乙烯）复合管",null,"DN100","m",null,""]
[197,"钢丝网骨架塑料(聚乙烯)复合管件",null,"DN100","个",null,""]
[198,"钢套管",null,"DN100","个",null,""]
[199,"钢支撑",null,"","kg",null,""]
[200,"高压胶皮管",null,"","m",null,""]
[201,"工厂灯 ~220V  LED光源  100W  光通量10000LM",null,"色温≤4000K","套",null,""]
[202,"挂式空调插座 220V 10A",null,"安全型","个",null,""]
[203,"挂式空调插座 AC250",null,"16A","个",null,""]
[204,"焊接钢管",null,"","kg",null,""]
[205,"焊接钢管",null,"DN100","m",null,""]
[206,"焊接钢管",null,"DN150","m",null,""]
[207,"红外感应龙头及配件",null,"15","套",null,""]
[208,"角钢",null,"(综合)","根",null,""]
[209,"角型阀(带铜活)",null,"DN15","个",null,""]
[210,"接地端子板",null,"100x100x10","块",null,""]
[211,"接地钢板",null,"","块",null,""]
[212,"接地检测端子板",null,"","块",null,""]
[213,"接地连接板",null,"100x100x8","块",null,""]
[214,"接地铜带",null,"-25x4","m",null,""]
[215,"截止阀",null,"DN100","个",null,""]
[216,"截止阀",null,"DN25","个",null,""]
[217,"截止阀",null,"DN32","个",null,""]
[218,"截止阀",null,"DN50","个",null,""]
[219,"金属软管",null,"D15","根",null,""]
[220,"金属软管",null,"DN20","m",null,""]
[221,"可调式减压阀",null,"DN25","个",null,""]
[222,"可调式减压阀",null,"DN32","个",null,""]
[223,"可挠曲橡胶接头",null,"DN150","个",null,""]
[224,"可曲挠橡胶接头",null,"DN50","个",null,""]
[225,"空调插座 220V 10A",null,"安全型","套",null,""]
[226,"控制电缆",null,"WDZBN-KVV-16x1.5","m",null,""]
[227,"淋浴器",null,"","个",null,""]
[228,"流量检测装置",null,"DN100","个",null,""]
[229,"螺纹水表",null,"DN25","个",null,""]
[230,"螺纹闸阀",null,"DN100","个",null,""]
[231,"排水管连接件",null,"110×50","个",null,""]
[232,"排水管连接件",null,"150×50","个",null,""]
[233,"配管",null,"JDG20","m",null,""]
[234,"配管",null,"JDG25","m",null,""]
[235,"配管",null,"JDG32","m",null,""]
[236,"配管",null,"PC25","m",null,""]
[237,"配线",null,"RVV-2x1.0","m",null,""]
[238,"配线",null,"RVV-2x1.5","m",null,""]
[239,"强电桥架",null,"200x100","m",null,""]
[240,"强电桥架盖板",null,"200x100","m",null,"桥架报价含盖板"]
[241,"墙板固定金属配件（镀锌钢板）",null,"","kg",null,""]
[242,"轻型球墨铸铁防沉降井座、井盖",null,"φ700","套",null,""]
[243,"轻型球墨铸铁防沉降井座、井盖",null,"φ800","套",null,""]
[244,"球磨铸铁井盖井座",null,"φ700","套",null,""]
[245,"球磨铸铁井盖井座",null,"φ800","套",null,""]
[246,"全铜截止阀",null,"DN32","个",null,""]
[247,"全铜截止阀",null,"DN50","个",null,""]
[248,"热镀锌钢板",null,"100*100*8","块",null,""]
[249,"热镀锌角钢L50x50x2500",null,"","根",null,""]
[250,"热浸镀锌钢管管件",null,"DN100","个",null,""]
[251,"热浸镀锌钢管管件",null,"DN150","个",null,""]
[252,"热浸镀锌钢管管件",null,"DN300","个",null,""]
[253,"三联单控暗开关 220V",null,"10A","只",null,""]
[254,"三联单控暗开关 AC250",null,"10A","只",null,""]
[255,"生活水泵组 Q=20L/s  H=40m",null,"N=22Kw","套"]
[256,"双联单控暗开关",null,"","只",null,""]
[257,"双联单控暗开关 220V",null,"10A","只",null,""]
[258,"双联单控暗开关 AC250",null,"10A","只",null,""]
[259,"双联开关",null,"","只",null,""]
[260,"双面胶纸带",null,"","m2",null,""]
[261,"水表",null,"DN100","个",null,""]
[262,"水表",null,"DN32","个",null,""]
[263,"水表",null,"DN50","个",null,""]
[264,"塑料管",null,"φ25","m",null,""]
[265,"塑料管",null,"φ30","m",null,""]
[266,"塑料落水口 φ110",null,"带罩","套",null,""]
[267,"塑料膨胀螺栓",null,"","套",null,""]
[268,"塑料膨胀螺栓",null,"φ10×70","套",null,""]
[269,"塑料膨胀锚栓",null,"φ8","套",null,""]
[270,"塑料山墙出水口",null,"φ110","套",null,""]
[271,"塑料山墙出水口",null,"φ150","套",null,""]
[272,"塑料水斗",null,"φ150","个",null,""]
[273,"塑料弯管",null,"","个",null,""]
[274,"台式洗脸盆",null,"","个",null,""]
[275,"台式洗手盆（感应式冲洗阀）",null,"","个",null,""]
[276,"太阳能路灯",null,"100W","套",null,""]
[277,"通气管 PVC-U",null,"DN100","m",null,""]
[278,"通气管、帽",null,"H=1400","个",null,""]
[279,"通气管、帽",null,"H=900","个",null,""]
[280,"卫生间插座 220V 10A",null,"安全型","个",null,""]
[281,"无缝钢管",null,"D57×3.5","m",null,""]
[282,"无缝钢管",null,"φ＝108","m",null,""]
[283,"五芯电力电缆头截面",null,"≤120mm2","个",null,""]
[284,"五芯电力电缆头截面",null,"≤16mm2","个",null,""]
[285,"吸顶灯 220V 24W LED光源",null,"光通量2400LM","套",null,""]
[286,"吸顶灯 220V 36W LED光源",null,"光通量2400LM","套",null,""]
[287,"吸水口/溢流斗",null,"DN100","个",null,""]
[288,"吸水口/溢流斗",null,"DN150","个",null,""]
[289,"洗脸盆排水附件",null,"","套",null,""]
[290,"洗脸盆托架",null,"","副",null,""]
[291,"橡胶密封条",null,"","m",null,""]
[292,"橡胶软接",null,"DN100","个",null,""]
[293,"小便器",null,"","个",null,""]
[294,"延迟开关 220V",null,"10A","个",null,""]
[295,"异径管",null,"DN100","个",null,""]
[296,"油漆溶剂油",null,"200#","kg",null,""]
[297,"雨水管-PVC-φ150",null,"","m",null,""]
[298,"预制混凝土井筒",null,"φ800","m",null,""]
[299,"预制路灯基础",null,"","个",null,""]
[300,"预制箱变基础",null,"","套",null,""]
[301,"圆钢HPB300钢筋",null,"φ≤10","t",null,""]
[302,"圆钢HPB335钢筋",null,"φ12～φ14","t",null,""]
[303,"圆钢",null,"φ12～16","t",null,""]
[304,"闸阀",null,"DN100","个",null,""]
[305,"闸阀",null,"DN150","个",null,""]
[306,"闸阀",null,"DN300","个",null,""]
[307,"重型球墨铸铁防沉降井座、井盖",null,"φ700","套",null,""]
[308,"铸铁通风箅",null,"","m2",null,""]
[309,"专用硬盘",null,"","套",null,""]
[]
[{"$nulls":5},"供应商：                                （盖章）"]
[{"$nulls":5},"法定代表人或其委托代理人：            （签字）"]
[{"$nulls":5},"                                 年  月  日"]

{"sheet":"消防","index":1,"n_rows":132,"n_cols":9,"rows_kept":132,"merged":[[0,0,0,8],[1,0,1,1],[1,2,1,5],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[48,1,48,2],[49,1,49,2],[50,1,50,2],[51,1,51,2],[52,1,52,2],[53,1,53,2],[54,1,54,2],[55,1,55,2],[56,1,56,2],[57,1,57,2],[58,1,58,2],[59,1,59,2],[60,1,60,2],[61,1,61,2],[62,1,62,2],[63,1,63,2],[64,1,64,2],[65,1,65,2],[66,1,66,2],[67,1,67,2],[68,1,68,2],[69,1,69,2],[70,1,70,2],[71,1,71,2],[72,1,72,2],[73,1,73,2],[74,1,74,2],[75,1,75,2],[76,1,76,2],[77,1,77,2],[78,1,78,2],[79,1,79,2],[80,1,80,2],[81,1,81,2],[82,1,82,2],[83,1,83,2],[84,1,84,2],[85,1,85,2],[86,1,86,2],[87,1,87,2],[88,1,88,2],[89,1,89,2],[90,1,90,2],[91,1,91,2],[92,1,92,2],[93,1,93,2],[94,1,94,2],[95,1,95,2],[96,1,96,2],[97,1,97,2],[98,1,98,2],[99,1,99,2],[100,1,100,2],[101,1,101,2],[102,1,102,2],[103,1,103,2],[104,1,104,2],[105,1,105,2],[106,1,106,2],[107,1,107,2],[108,1,108,2],[109,1,109,2],[110,1,110,2],[111,1,111,2],[112,1,112,2],[113,1,113,2],[114,1,114,2],[115,1,115,2],[116,1,116,2],[117,1,117,2],[118,1,118,2],[119,1,119,2],[120,1,120,2],[121,1,121,2],[122,1,122,2],[123,1,123,2],[124,1,124,2],[125,1,125,2],[126,1,126,2],[127,1,127,2],[129,5,129,8],[130,5,130,8],[131,5,131,8]]}
["消防工程材料（设备）报价明细表"]
[]
["序号","材料（设备）名称",null,"规格、型号","计量单位","单价(元)","成套设备明细及报价","生产厂家","备注"]
[1,"119外线直通电话",null,"","个",null,""]
[2,"安全出口标志灯 DC36V 1W",null,"LED光源","套",null,""]
[3,"安全出口标志灯 DC36V 2W",null,"LED光源","套",null,""]
[4,"安全出口标志灯 DC36V",null,"1W","套",null,""]
[5,"成品甲级防火门",null,"","m2",null,""]
[6,"地上式消火栓",null,"SS100/65型","套",null,""]
[7,"电气火灾监控主机",null,"","台",null,""]
[8,"多线联动控制盘",null,"","台",null,""]
[9,"多线手动控制盘",null,"","台",null,""]
[10,"多线消防电话主机",null,"","台",null,""]
[11,"方向标志灯(右向) DC36V 2W",null,"LED光源","套",null,""]
[12,"方向标志灯(左向) DC36V 2W",null,"LED光源","套",null,""]
[13,"感温火灾探测器",null,"","个",null,""]
[14,"感烟火灾探测器",null,"","个",null,""]
[15,"给水室内钢管沟槽管件",null,"DN100","个",null,""]
[16,"给水室外镀锌钢管螺纹管件",null,"DN100","个",null,""]
[17,"给水室外镀锌钢管螺纹管件",null,"DN150","个",null,""]
[18,"给水室外钢管焊接管件",null,"DN100","个",null,""]
[19,"沟槽直接头",null,"（含胶圈）DN100","套",null,""]
[20,"沟槽直接头",null,"（含胶圈）DN150","套",null,""]
[21,"沟槽直接头",null,"（含胶圈）DN300","套",null,""]
[22,"骨胶",null,"","kg",null,""]
[23,"管箍",null,"","只",null,""]
[24,"火警电话",null,"","个",null,""]
[25,"火灾报警控制器(联动型)",null,"","台",null,""]
[26,"火灾声光警报器",null,"","个",null,""]
[27,"火灾图形显示器 CRT",null,"","台",null,""]
[28,"火灾应急广播扬声器",null,"","个",null,""]
[29,"机械启动柜(IP55)",null,"","台",null,""]
[30,"集中电源疏散照明灯(A型) DC36V 5W LED光源",null,"IP67","套",null,""]
[31,"集中电源疏散照明灯(A型) DC36V LED光源",null,"5W","套",null,""]
[32,"集中电源疏散照明灯(A型) DC36V",null,"5W","套",null,""]
[33,"集中电源疏散照明灯(A型)-壁装型 DC36V",null,"5W","套",null,""]
[34,"立式隔膜式气压罐",null,"1200L","台",null,""]
[35,"楼层标志灯 DC36V 2W",null,"LED光源","套",null,""]
[36,"灭火器放置箱",null,"","个",null,""]
[37,"模块箱",null,"","台",null,""]
[38,"末端试水阀",null,"DN25","个",null,""]
[39,"末端试水装置",null,"DN25","套",null,""]
[40,"难燃B1级闭泡橡塑管壳",null,"","m3",null,""]
[41,"内衬塑复合钢管",null,"DN100","m",null,""]
[42,"内衬塑复合钢管",null,"DN150","m",null,""]
[43,"内衬塑复合钢管管件",null,"DN100","个",null,""]
[44,"内外壁热镀锌无缝钢管接头零件",null,"DN100","个",null,""]
[45,"内外壁热镀锌无缝钢管接头零件",null,"DN25","个",null,""]
[46,"内外壁热镀锌无缝钢管接头零件",null,"DN32","个",null,""]
[47,"内外壁热镀锌无缝钢管接头零件",null,"DN40","个",null,""]
[48,"内外壁热镀锌无缝钢管接头零件",null,"DN50","个",null,""]
[49,"内外壁热镀锌无缝钢管接头零件",null,"DN65","个",null,""]
[50,"内外壁热镀锌无缝钢管接头零件",null,"DN80","套",null,""]
[51,"喷淋泵 启泵压力0.15MPA",null,"停泵压力0.21MPA","台",null,""]
[52,"喷淋系统流量开关",null,"","套",null,""]
[53,"气体灭火控制柜",null,"","台",null,""]
[54,"潜污泵",null,"JYWQ80-30-9-1400-2.2","台",null,""]
[55,"湿式报警阀组",null,"DN150","套",null,""]
[56,"试验介质（氮气）70L",null,"","瓶",null,""]
[57,"试验消火栓",null,"DN65","套",null,""]
[58,"室内消火栓水泵 XBD0.6/20-22-HY，  Q=20L/s  H=60m",null,"N=22Kw","台",null,""]
[59,"室外塑料给水管热熔管件",null,"DN50","个",null,""]
[60,"室外消火栓水泵 XBD0.55/30-30-HY，  Q=30L/s  H=55m",null,"N=30Kw","台",null,""]
[61,"手动报警按钮(带电话插孔）",null,"","个",null,""]
[62,"手提式磷酸氨盐干粉灭火器",null,"4kg","个",null,""]
[63,"手提式磷酸氨盐干粉灭火器",null,"MF/ABC4","个",null,""]
[64,"手提式磷酸氨盐干粉灭火器",null,"MF/ABC5","个",null,""]
[65,"手提式灭火器",null,"MF/ABC4型","个",null,""]
[66,"疏散出口标志灯 DC36V 2W",null,"LED光源","套",null,""]
[67,"输入模块",null,"","个",null,""]
[68,"输入输出模块",null,"","个",null,""]
[69,"双面方向标志灯(单向) DC36V 2W",null,"LED光源","套",null,""]
[70,"双面方向标志灯(单向) DC36V",null,"1W","套",null,""]
[71,"水锤消除器",null,"DN150","个",null,""]
[72,"水流指示器",null,"DN150","个",null,""]
[73,"碳钢平焊法兰",null,"","片",null,""]
[74,"碳钢平焊法兰",null,"DN100","片",null,""]
[75,"碳钢平焊法兰",null,"DN100","个",null,""]
[76,"碳钢平焊法兰",null,"DN150","片",null,""]
[77,"碳钢平焊法兰",null,"DN300","片",null,""]
[78,"透明玻璃液位计（泵房）",null,"","个",null,""]
[79,"图形显示装置",null,"CRT","套",null,""]
[80,"消防泵 启泵压力0.15MPA",null,"停泵压力0.21MPA","台",null,""]
[81,"消防电话及广播主机柜",null,"","台",null,""]
[82,"消防端子箱",null,"","个",null,""]
[83,"消防防火门监控器",null,"","台",null,""]
[84,"消防广播分配盘",null,"","台",null,""]
[85,"消防广播功放盘",null,"500W","台",null,""]
[86,"消防水池液位显示装置",null,"","台",null,""]
[87,"消火栓系统流量开关",null,"","套",null,""]
[88,"压力表",null,"","个",null,""]
[89,"压力表表弯",null,"DN100","套",null,""]
[90,"压力表表弯",null,"DN25","套",null,""]
[91,"压力表表弯",null,"DN65","套",null,""]
[92,"压力开关",null,"DN150","套",null,""]
[93,"遥控信号阀",null,"DN150","个",null,""]
[94,"遥控信号阀",null,"DN25","个",null,""]
[95,"液压水位控制阀",null,"DN100","个",null,""]
[96,"仪表接头",null,"DN100","套",null,""]
[97,"仪表接头",null,"DN25","套",null,""]
[98,"仪表接头",null,"DN65","套",null,""]
[99,"乙丙橡胶垫圈",null,"","个",null,""]
[100,"乙型单栓带灭火器箱组合式消防柜",null,"","套",null,""]
[101,"应急疏散指示标识灯 DC36V LED光源",null,"5W","套",null,""]
[102,"应急疏散指示标识灯(向左、向右) DC36V",null,"1W","套",null,""]
[103,"应急疏散指示标志灯 DC36V LED光源",null,"1W","套",null,""]
[104,"应急照明分配电控制箱 PDEsb",null,"1KW","台",null,""]
[105,"应急照明控制主机",null,"","台",null,""]
[106,"远传液位信号装置",null,"","台",null,""]
[107,"闸阀",null,"DN100","个",null,""]
[108,"闸阀",null,"DN150","个",null,""]
[109,"闸阀",null,"DN300","个",null,""]
[110,"直立型玻璃球洒水喷头",null,"","个",null,""]
[111,"止回阀",null,"DN100","个",null,""]
[112,"止回阀",null,"DN150","个",null,""]
[113,"止回阀",null,"DN25","个",null,""]
[114,"止回阀",null,"DN50","个",null,""]
[115,"止回阀",null,"DN65","个",null,""]
[116,"中间固定架",null,"WG-2","个",null,""]
[117,"装配式弧肋板消防水箱",null,"28m³","台",null,""]
[118,"自带电源疏散照明灯(A型) DC36V 5W",null,"LED光源","套",null,""]
[119,"自动灭火柜",null,"设计用量86.510Kg.","套",null,""]
[120,"自动灭火柜",null,"设计用量9.609Kg.","套",null,""]
[121,"自动排气阀",null,"DN20","个",null,""]
[122,"自动排气阀",null,"DN25","个",null,""]
[123,"自动喷淋水泵 XBD0.55/45-37-HY，  Q=45L/s  H=55m",null,"N=37Kw","台",null,""]
[124,"自动喷淋水泵结合器",null,"","套",null,""]
[125,"综合管理平台",null,"","台",null,""]
[]
[{"$nulls":5},"供应商：                                （盖章）"]
[{"$nulls":5},"法定代表人或其委托代理人：            （签字）"]
[{"$nulls":5},"                                 年  月  日"]

{"sheet":"弱电","index":2,"n_rows":60,"n_cols":9,"rows_kept":60,"merged":[[0,0,0,8],[1,0,1,1],[1,2,1,5],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[48,1,48,2],[49,1,49,2],[50,1,50,2],[51,1,51,2],[52,1,52,2],[53,1,53,2],[54,1,54,2],[55,1,55,2],[57,5,57,8],[58,5,58,8],[59,5,59,8]]}
["弱电工程材料（设备）报价明细表"]
[]
["序号","材料（设备）名称",null,"规格、型号","计量单位","单价(元)","成套设备明细及报价","生产厂家","备注"]
[1,"1080P立杆枪式摄像机",null,"","个",null,""]
[2,"16口千兆接入交换机",null,"","台",null,""]
[3,"21寸显示器",null,"","台",null,""]
[4,"42U机柜",null,"","个",null,""]
[5,"4口光纤终端盒",null,"","个",null,""]
[6,"4盘位16路NVR",null,"","台",null,""]
[7,"4芯室外单模光纤",null,"","m",null,""]
[8,"8盘位32路NVR",null,"","台",null,""]
[9,"9U机柜",null,"","个",null,""]
[10,"B1级挤塑聚苯板",null,"厚30mm","m2",null,""]
[11,"CAT.5e 4Pair",null,"UTP","m",null,""]
[12,"Cat.6",null,"UTP","m",null,""]
[13,"CPVC100",null,"","m",null,""]
[14,"CPVC150",null,"","m",null,""]
[15,"CPVC165",null,"","m",null,""]
[16,"CPVC25",null,"","m",null,""]
[17,"CPVC32",null,"","m",null,""]
[18,"CPVC40",null,"","m",null,""]
[19,"CPVC50",null,"","m",null,""]
[20,"CPVC65",null,"","m",null,""]
[21,"CPVC80",null,"","m",null,""]
[22,"HDM1高清线（15m）",null,"","根",null,""]
[23,"SC-LC光纤跳线",null,"","对",null,""]
[24,"SYV75-5",null,"","m",null,""]
[25,"TO电话插座",null,"","个",null,""]
[26,"TO网络插座",null,"","个",null,""]
[27,"TP信息插座",null,"","个",null,""]
[28,"TP语音插座",null,"","个",null,""]
[29,"TV电视插座",null,"","个",null,""]
[30,"安防监控信号箱",null,"","台",null,""]
[31,"带云台半球形彩色摄像机",null,"","台",null,""]
[32,"带云台枪型摄像机",null,"","台",null,""]
[33,"电视墙",null,"42寸*2+21寸*6","套"]
[34,"定门器",null,"","套",null,""]
[35,"读卡器",null,"","台",null,""]
[36,"管理电脑",null,"","台",null,""]
[37,"光纤连接器材",null,"","套",null,""]
[38,"光纤配线架24口",null,"","个",null,""]
[39,"光纤尾纤",null,"","根",null,""]
[40,"键盘",null,"","台",null,""]
[41,"理线架",null,"","个",null,""]
[42,"录放机卡座、CD机",null,"","台",null,""]
[43,"铝质防静电地板(含托架)",null,"","m2",null,""]
[44,"门禁控制器",null,"","台",null,""]
[45,"七孔梅花管",null,"UPVC110","m",null,""]
[46,"弱电机柜",null,"","个",null,""]
[47,"弱电排管",null,"UPVC110(壁厚≥5.0)","m",null,""]
[48,"弱电桥架",null,"200x100","m",null,""]
[49,"弱电桥架盖板",null,"200x100","m",null,"桥架报价含盖板"]
[50,"弱电箱",null,"","个",null,""]
[51,"网线",null,"UTPCat5e","m",null,""]
[52,"无线网络AC控制器",null,"","台",null,""]
[53,"总配线架 MDF",null,"12口","台",null,""]
[]
[{"$nulls":5},"供应商：                                （盖章）"]
[{"$nulls":5},"法定代表人或其委托代理人：            （签字）"]
[{"$nulls":5},"                                 年  月  日"]

{"sheet":"电气","index":3,"n_rows":52,"n_cols":9,"rows_kept":52,"merged":[[0,0,0,8],[1,0,1,1],[1,2,1,5],[2,1,2,2],[3,1,3,2],[4,1,4,2],[5,1,5,2],[6,1,6,2],[7,1,7,2],[8,1,8,2],[9,1,9,2],[10,1,10,2],[11,1,11,2],[12,1,12,2],[13,1,13,2],[14,1,14,2],[15,1,15,2],[16,1,16,2],[17,1,17,2],[18,1,18,2],[19,1,19,2],[20,1,20,2],[21,1,21,2],[22,1,22,2],[23,1,23,2],[24,1,24,2],[25,1,25,2],[26,1,26,2],[27,1,27,2],[28,1,28,2],[29,1,29,2],[30,1,30,2],[31,1,31,2],[32,1,32,2],[33,1,33,2],[34,1,34,2],[35,1,35,2],[36,1,36,2],[37,1,37,2],[38,1,38,2],[39,1,39,2],[40,1,40,2],[41,1,41,2],[42,1,42,2],[43,1,43,2],[44,1,44,2],[45,1,45,2],[46,1,46,2],[47,1,47,2],[49,5,49,8],[50,5,50,8],[51,5,51,8]]}
["电气工程材料（设备）报价明细表"]
[]
["序号","材料（设备）名称",null,"规格、型号","计量单位","单价(元)","成套设备明细及报价","生产厂家","备注"]
[1,"柴油发电机组 常载功率160kW",null,"备载功率176kW","台",{"$nulls":3},""]
[2,"低压配电柜(固定分隔式)",null,"EAN1","台",{"$nulls":3},""]
[3,"低压配电柜(固定分隔式)",null,"EAN2","台",{"$nulls":3},""]
[4,"低压配电柜(固定分隔式)",null,"EAN3","台",{"$nulls":3},""]
[5,"配电柜",null,"ACpl(IP55)","台",{"$nulls":3},""]
[6,"配电柜",null,"ACsnxhs(IP55)","台",{"$nulls":3},""]
[7,"配电柜",null,"ACswxhs(IP55)","台",{"$nulls":3},""]
[8,"配电箱 1AL1",null,"75KW","台",{"$nulls":3},""]
[9,"配电箱 2AL1",null,"50KW","台",{"$nulls":3},""]
[10,"配电箱 3AL1",null,"50KW","台",{"$nulls":3},""]
[11,"配电箱 AL1",null,"22.5KW","台",{"$nulls":3},""]
[12,"配电箱 AL1",null,"25KW","台",{"$nulls":3},""]
[13,"配电箱 AL126",null,"50KW","台"]
[14,"配电箱 AL1",null,"4.5KW","台",{"$nulls":3},""]
[15,"配电箱 AL1",null,"5KW","台",{"$nulls":3},""]
[16,"配电箱 AL1",null,"7.5KW","台",{"$nulls":3},""]
[17,"配电箱 AL1",null,"8KW","台",{"$nulls":3},""]
[18,"配电箱 AL1",null,"9.5KW","台",{"$nulls":3},""]
[19,"配电箱 AL2",null,"20KW","台",{"$nulls":3},""]
[20,"配电箱 AL2",null,"25KW","台",{"$nulls":3},""]
[21,"配电箱 AL2",null,"3KW","台",{"$nulls":3},""]
[22,"配电箱 AL2",null,"5KW","台",{"$nulls":3},""]
[23,"配电箱 AL3",null,"15KW","台",{"$nulls":3},""]
[24,"配电箱 ALgc",null,"20KW","台",{"$nulls":3},""]
[25,"配电箱 ALjjg1",null,"40KW","台",{"$nulls":3},""]
[26,"配电箱 ALjjg2",null,"20KW","台",{"$nulls":3},""]
[27,"配电箱 ALssgg",null,"5KW","台",{"$nulls":3},""]
[28,"配电箱 ALtmr",null,"40KW","台",{"$nulls":3},""]
[29,"配电箱 APcf",null,"20KW","台",{"$nulls":3},""]
[30,"配电箱 APshbf",null,"25KW","台",{"$nulls":3},""]
[31,"配电箱 APz1",null,"201KW","台",{"$nulls":3},""]
[32,"配电箱 APz1",null,"Pe=400kW","台",{"$nulls":3},""]
[33,"配电箱 APz2",null,"Pe=305kW","台",{"$nulls":3},""]
[34,"配电箱 APz3",null,"Pe=285kW","台",{"$nulls":3},""]
[35,"配电箱 APz4",null,"Pe=280kW","台",{"$nulls":3},""]
[36,"配电箱 PDE1",null,"1KW","台",{"$nulls":3},""]
[37,"配电箱 PDE2",null,"1KW","台",{"$nulls":3},""]
[38,"配电箱 PDEtmr",null,"1KW","台",{"$nulls":3},""]
[39,"配电箱",null,"PDEjjg/ALEjjg","台",{"$nulls":3},""]
[40,"配电箱",null,"PDEtmr","台",{"$nulls":3},""]
[41,"尾气处理系统",null,"","套",{"$nulls":3},"柴油发电机成套设备"]
[42,"箱式变电站",null,"SCB13-800/10","套",{"$nulls":3},""]
[43,"消防控制室配电箱 APExks",null,"Pe=20kW","台",{"$nulls":3},""]
[44,"消防控制室配电箱 APjk",null,"Pe=15kW","台",{"$nulls":3},""]
[45,"消防总箱系统图 APxfz",null,"Pe=113.4kW","台",{"$nulls":3},""]
[]
[{"$nulls":5},"供应商：                                （盖章）"]
[{"$nulls":5},"法定代表人或其委托代理人：            （签字）"]
[{"$nulls":5},"                                 年  月  日"]